## DT
DAYTIME ACTIVITIES |  |  | SX | DX | Comments
1. LGSW calibrations
| 1.1. Define subaperture set |  | V | O
| 1.2. Measure FoV |  | O | O
| 1.3. Save jitter initial position |  | O | O | December position for SX is wrong
| 1.4. Save pupil target position |  | O | O
| 1.4. Acquire IM |  | V | O
| 1.5. Patrol cameras clocking |  | V | ?
2. NGS calibrations
| 2.1. Measure QC dark current |  | O | O
| 2.2. Acquire QC IM |  | ? | O
| 2.3. Verifiy copointing QC - Pyramid |  | O | O
| 2.4. QC hotspot on CCD47 (all needed FW1 & 2 combinations) |  | V | O
| 2.5. Save board setups for Truth sensing and Pyr TT sensor |  | V | O
3. REC combination |  |  |  |  | New FLAO RECs are available
| 3.1. LGSW + FLAO BIN2 |  | O | O
| 3.2. LGSW + FLAO BIN4 |  | O | O
| 3.3. LGSW + QC |  | V | O
4. AO test
4.1. Combined RECs verification (w/ N30?)
|  | 4.1.1. LGSW + FLAO BIN2 | O | O
|  | 4.1.2. LGSW + FLAO BIN4 | O | O
|  | 4.1.3. LGSW + QC | V | O
| 4.2. PYR vs QC low flux test |  | ? | O
| 4.3. Acquisition with mag 19 equivalent star |  | ? | ?
| 4.4. Test new Truth sensing software |  | O | ?
4.5. Best focus on LUCI
|  | 4.5.1. N30 | V | O
|  | 4.5.2. N3.75 | V | O
| 4.6. Implement point&click acquisition for CalUnit |  | V | O
5. LGS acquisition
| 5.1. Find target pixel on LAT |  | ? | O | If new LAT is mounted we need to redo also SX
| 5.2. Find astigmatism elongation direction on PatCam images |  | O | O
6. Vibration control
| 6.1. Implement fast guiding from LGSW jitter to LAS pupil mirror |  | O | O
| 6.2. Test fast guiding with ASM (?) |  | ? | ? | Can we test the response of this offload in DT? We inject tilt w/ ASM and we measure pupil mirror response?
| 6.3. Measurement of fold mirror vibrations |  | ? | O
7. LMs thermal test |  |  | O | O
8. Software
| 8.1. ToF SW change |  | O | O
| 8.2. Cold startup procedure (test or implement?) |  | O | O
| 8.3. Test LUCI scripts (?) |  | O | O

## NT
NIGHTTIME ACTIVITIES |  |  | SX | DX | Comments
1. LGS acquisition & guiding
| 1.1. Acquisition & guiding IM |  |  |  | Do we have LGS acquisition IMS for the DX?
|  | 1.1.1. PatCam to LM1 | V | ?
|  | 1.1.2. PatCam to pupil mirror | V | ?
|  | 1.1.3. PatCam to periscope | V | ?
|  | 1.1.4. Jitter to pupil mirorr | V | ?
|  | 1.1.5. Jitter to periscope | V | ?
| 1.2. Beam shaping |  | O | O | We're still missing numbers, does it work?
| 1.3. Automatic LAT acquisition |  | O | O
| 1.4. Test LGSW jitter to LAS pupil mirror fast loop |  | O | ?
| 1.5. Measure vibrations in the wind direction |  | ? | O
| 1.6. LAS pupil mirror offload to LM1 |  | ? | O | Is it working on SX?
| 1.7. Pupil centering algorithm |  | O | O
2. AO operation
| 2.1. NGS closed loop on Pyr |  | V | O
| 2.2. NGS closed loop on QC |  | ? | O | We're still missing clear indication that it was working on SX in Dec
| 2.3. AO loop must survive to offsets |  | O | ?
| 2.4. Assess truth sensing performance |  | O | O | How?
| 2.5. Test offaxis guiding |  | O | O
3. Scripting & science
| 3.1. M1/M2 cleanup scheme |  | O | ?
| 3.2. Long integration imaging |  | O | ?
| 3.3. Mask acquisition |  | O | ?
| 3.4. Spectra |  | O | ?