## Foglio1
3rd party | in progress | done | TOPIC | PRIORITY | NOTES | NOTES WG
won’t fix (WG)
OFFSET
1 | May16 | LB | OffsetXY should return Warning ("don't want to move, because target is too far") or Error ("HW error or star not found"). At the moment we always return Error. | H | Based on a video chat with Jhill. Ice interface need to be modified to return different exceptions. Luca must return error or warning depending of those exceptions. | LBTO: TCS return?
2 | May16 | LB | Offset: we want to get absolute offsets instead of relative. | H | Ok, but why? Review the entire argument | LBTO: TCS has to take all options available, if not remove possibilities from LUCI. This is only stage offset given to ARGOS? TCS to do it right?
3 | May16 | LB | OffsetXY: to be accepted also in ACQUIRED/LAUNCHED/… | H |  | Jose: Change in state machine
4 | May16 | LB | OffsetXY: to be accepted also in yellow states and executed later | H | Argos Operator must check when to do it, at the moment. Additionally, implementing task #1 this would become obsolete | Jose: Change in state machine
|  |  | Make sign in AosTelescopePointingController.offsetTelescope configurable | H | Signs will be different for DX and SX, but is configurable in AOS config file.
TRUTH SENSOR
5 | May16 | LB | Add the modal offset (10-20 modes) applied by the Truth Sensor to ZABBIX (10s) | L | Needed to understand TruthSensor behaviour | Lorenzo: expose the numbers. Jose: Add to ZABBIX
6 | May16 | LB | Make the NGSTruthSensor class less verbose in the log | L | ngs_truth_sensor::_logSummary() is too verbose. Check with LB | Jose together with WG and LB?
7 | May16 | LB | Review how TS gain and integration time are used in the Foreman | L |  | LB?
8 | May16 | LB | Implement. Don’t use the first value received from Pyr TS when the TS is closed. This value has probably been measured while the loop was open. Discard it and use the second one. | H | In ngs_truth_Sensor add a command to indicates _obtainNewTrueModes to discard the next one. Call this command when closing the loop in foreman::resumeNGS() ? | Jose?: Truth controller/Aarb state machine?
ARBITRATOR
9 | May16 | LB | Integrate the BeamSharpening routines currently running in the terminal into the Arbitrator | H |  | Jose: Aarb state machine
10 | May16 | LB | Arbitrator.laserLaunched should finally be bounded to LAS.SHUTTER_IO_READBACK_STATE_PORT while las.getSummary().laserInterlockStatus.isPropagationShutterOpenOn() is bounded to output port "Enable Opening Propagation Shutter" that is actually a SW signal, not the HW signal from the shutter | L | Really Laser interlock IO Switch is a SW signal ? | JLB, LB: Review condition_bundle.py
11 | May16 | LB | Add Foreman variables in the snapshot! | L | List of variables ? | Jose: Add to snapshot
12 | May16 | LB | Events LASER_LAUNCHED_AGAIN, ADSEC_SHELL_RIP, ADSEC_SKIP_COMMANDS are never generated. Why? | L | LASER_LAUNCHED_AGAIN and ADSEC_SHELL_RIP are not fully implemented in condition_bundle.py. | Alfio: Check FLAO code? Jose: check event machine
13 | May16 | LB | CommonPupilMirror._modifyRelativePupilMirrorStaticOffset has a Barrier that is not working (?) | L | Spotted by LB and WG during a calibration. To be confirmed | Let's understand better what happens.
14 | May16 | LB | ResumeLGS: we 1) close AO and 2) close LGSGuider. Shouldn't be the opposite? | L |  | Let's first understand if yes → Jose: Chande Aarb state machine
15 | May16 | WG | TT is slave of LGSW for “Powering up” and “Setting up”, is confusing in display as nothing happens for a while. | L | ?? | ??
16 | May16 | WG | LGSW was not in shutdown but arbitrator was in shutdown | H | maybe releated to 23
17 | May16 | WG | New power off sequence with new remote power (cooling was not powered off | H
18 | May16 | WG | new power up sequence with new remote power (can pull 94Amps) | H
19 | May16 | WG | To do CalSource acquisition LAN has to be in READY_TO_OBSERVER → has to be in simulation. Should be ignored. LAN/LAS should be ignored in READY_TO_CALIBRATE | H
DICHROIC
20 | May16 | LB | Add timeout on dichroic movement and stop motion. | H | Prevent stuck motor to stress the gears, as in May | Jose: Dichroic basdard
21 | May16 | LB | Review cases for deploying/retract dichroic. | L | Before the night it goes in and out | WG, LB
22 | May16 | LB | Add dichroic info in Aarb GUI. | L |  | Jose: Aarb GUI
LGSW
23 | May16 | LB | LGSW State machine. During Shutdown the dichroic retraction times out so it does not transit into SHUTDOWN, but the BCU is already off so it goes into device error and doesn't accept anymore the Shutdown command. The only solution is to restart the BCU to get rid of Device Error :-) | H |  | Jose: LGSW state machine
24 | May16 | LB | Switch Off internal LGSW diodes when LightSourceType is LGS or CalSource | L |  | Jose: Aarb state machine? LGSW state machine?
25 | WG | WG | LGSW : False housekeeping error because temp sensor is off. | H | Remove sensor from config file or disable alarm
26 | WG | WG | Dark blue in LGSW-WFS-Lab GUI. Cannot read the writing. | L
LALAS
27 | May16 | WG | LAN controller cannot shutdown because dust shutter is not available or closed. | H
28 | May16 | WG | LAN failed but actually is ready (was I think some dust shutter issue). | H
MISC
29 | May16 | LB | Snapshot key LAN.VIB.LOOPCLOSED is always True, even if vibration compensation is off. Is it really off? | H | See Diethard’s email | Comment: The Debug flag now defines loop closed or open. WG+DP+Jose: Vib basdard
30 | May16 | LB | Integrate the "AO Sensing viewer GUI" properly in the sw | L |  | Jose: Aarb GUI
31 | May16 | LB | pyr.getPyramidWfsCCdSnapshot returns a frame 80x80 float64 with only values 0 and 1. | L | Some ICE conversion? Bug on Alfio's side? | Alfio: Check FLAO code?
32 | May16 | LB | pyr stop pupil loop when light is missing on the NGS WFS (e.g. in PauseNGS and PAUSE_AOS) | H | otherwise it drifts away on noise, TBD foreman. | FLAO code problem? Shall we really do this on our side? Jose: Aarb state machine?
33 | May16 | LB | Run LAS periscope loop before being Ready To Observe | H |  | Jose: Aarb state machine? LAS controller? WG, LB, Jose: Change start up and ready to observe scheme?
34 | May16 | WG | FACSUM shows satellite closer when shutter is closed by laser officer GUI | H | check in AARB DD or in Luca’s code
35 | May16 | WG | FACSUM shows still laser propagation after propagation shutter is closed (enable P-shutter is read instead of P-shutter status) | H | same as 10?
36 | May16 | WG | Satellite return event is missing in LGS Resume → Manual resume is necessary | H | same as 12?
37 | May16 | WG | automatic coming back from satallite for short closures does not work | H | same as 12?
38 | May16 | WG | Add cal unit to snapshot | H
39 | May16 | WG | Restart all nodes with fire and go (one script? One button? One vision) | L
40 | Sep16 | JLB | Arbitrator and Foreman into Zabbix | H | Property crawlers works only with TaN property trees. A new mechanism must be created in order to achieve this task
41 | Sep16 | JLB | TwiceAsNice changed service watchdog system. Some Argos services need to be refactored | H
Binocular
42 | May16 | WG | Offset with telescope mirrors instead of mount has to be counteracted with LM1 | H
43 | May16 | WG | Different LAT nominals for bino and mono (DX?, SX) | H
Devices
44 | May16 | WG | Diode source: Ramp up the current in software | L
45 | May16 | WG | Pulse generator: reconnect after network disconnect | L
46 | May16 | WG | Zabbix crawler: Connections lost about 1 per day (probably more due to deadlooks of others) | L
47 | May16 | WG | New device: Main water/tmp controller device | L
48 | May16 | WG | LM1: Show absolute phi + theta | L
49 | May16 | WG | LM1-SX: flexure model missing | L
GUI
50 | May16 |  | LGSW subap GUI: * interactive ↔ idxPixList ↔ all/on SubAp moving * radio button ↔ pixelWeight ↔ guard on/guard off fixThreash ↔ each subap MaxGain ↔ each subap * radio button ↔ powerCoeff ↔ 1/1.5 * entry ↔ normCoeff ↔ all at one Remove/add subaps [opitional] ↔ select number pix/subap Change this all together | L
51 | May16 |  | Status GUI | L