## Tabelle1
Refurbished Pockels cells performnace before shipping.Values are counts on the DVC images in the AoI
|  | No Voltage, Laser on |  | Voltage on, 9 kV, 2µs pulse, 103µs reprate
Delay µs |  | * | * | 50 | 5 | 50 | 5
|  | Collimated | Diverging | Diverging | Diverging | Collimated | Collimated
Cell 2 | Blue | 11.8 | 12.2 | 12.7 | 14.3 | 12.7 | 13.2
Cell 3 | Yellow | 11.9 | 13.5 | 13.3 | 14 | 12 | 12.8
Cell4 | Red | 11.7 | 12.6 | 14.2 | 15.5 | 13.6 | 14.9
Background | 11,5 cts
Flux no cell | 800…1100 cts